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BACKGROUND 

The National Electric Vehicle Infrastructure Formula Program (NEVI Program or Program) is a U.S. Department of Transportation (DOT) Federal Highway Administration (FHWA) program operated in cooperation with the U.S. Department of Transportation (DOT), the U.S. Department of Energy (DOE), and the Joint Office of Energy and Transportation (Joint Office). The Alabama NEVI Program is administered by the Alabama Department of Economic and Community Affairs (ADECA) in cooperation with the Alabama Department of Transportation (ALDOT). The NEVI Program and this Application Guide (Guide) may be amended by ADECA. Capitalized terms are defined in Addendum A.

The purpose of Alabama’s NEVI Program is to provide funding to strategically deploy electric vehicle (EV) charging stations to establish an interconnected network to facilitate data collection, access, and reliability. This Program initially provides funding assistance for publicly accessible Electric Vehicle Supply Equipment (EVSE) infrastructure installation, operation, and maintenance intended to serve users of FHWA-designated Electric Vehicle Alternative Fuel Corridors throughout Alabama. 

ROUND 1 PROJECTS RESCINDED 

NEVI Round 1 conditional awards, announced on July 1, 2024, were rescinded and successful Applicants were informed the rescission was necessitated by new federal program guidance and did not reflect on the quality of their Applications. Of note, these Applications provided significant matching funds, proposed locations offering modern convenience and safety amenities, and were located in close proximity to travel corridors. The workforce development Project selected during Round 1 has also been rescinded. 
 

ROUND 2 APPLICATION WITHDRAWN

Round 2 of Alabama’s NEVI program was opened on December 16, 2024, and subsequently paused on January 28, 2025, pending updated guidance from the federal government. Round 2 has now been withdrawn by ADECA and will not proceed further. For clarity, anyone who had begun preparing Applications for Round 2 should start over entirely using Round 3 documents. 



ROUND 3 AVAILABLE FUNDING AND PROJECT DELIVERY METHOD 

[bookmark: _Hlk210812300]For Round 3, ADECA intends to make awards up to $52,046,990 with up to $2 million set aside for workforce development projects. 

Charging infrastructure Projects will be scored and awarded through a competitive grant that requires Subrecipients to deliver reimbursement Projects, in direct coordination with ADECA, through a design-build-operate-maintain (DBOM) project delivery method. Some Program funds may be used for planning, outreach, and other activities as approved by ADECA at its sole discretion and as allowed by law.

FULLY BUILT OUT DETERMINATION

When a State determines, and the Secretary of Transportation certifies the determination, that its FHWA- Electric Vehicle Charging Alternative Fuel Corridors (AFC’s or NEVI Corridors) are fully built out, NEVI funding may be used for EV charging infrastructure on any public road or in other publicly accessible locations. After the fully built-out determination is certified, Projects may include both DC fast chargers and AC Level 2 chargers.  For clarity, only Level 3 DC Fast Chargers are eligible in this current round of funding. 

NEVI Program Interim Final Guidance (August 13, 2025) provides discretion to states in making a Fully Built Out determination. The State may now consider both existing charging stations as well as planned and operational NEVI charging stations in making its fully built out determination.    

Based on the entirety of Round 3 Applications received, additional scoring points will be given to Projects that best contribute to a Fully Built Out determination. In making this determination, Alabama will consider charging stations capable of meeting an EVs power delivery request for at least 150 kilowatts (kW), located within 4 driving miles of an AFC, and no more than 100 miles apart along an AFC. 





WORKFORCE DEVELOPMENT PROJECTS 

Alabama workforce development experts are involved in the EV planning process through participation in Alabama’s EV Advisory Group and its Labor and Workforce Considerations and Utility Subcommittees. To ensure the state’s workforce is trained in high quality training programs like the Electric Vehicle Infrastructure Training Program (EVITP) (as discussed below) or that otherwise comply with the qualified technician requirements in 23 C.F.R. § 680.106(j), there is a significant need to further electrical worker training related to the installation and maintenance of EV charging infrastructure. 

The legislation that established the NEVI program provides for NEVI funds to be used for proper operation and maintenance of electric vehicle charging infrastructure and the qualified technician requirements in 23 C.F.R. § 680.106(j) further directs that “states or other direct recipients shall ensure that the workforce installing, maintaining, and operating chargers has appropriate licenses, certifications, and training to ensure that the installation and maintenance of chargers is performed safely by a qualified and increasingly diverse workforce of licensed technicians and other laborers.   

Alabama is accepting grant applications for the following types of activities and workforce development projects that may be designated, prioritized, selected and/or funded at ADECA’s discretion under the NEVI Program: 

(1) to cover registration expenses associated with electrical workers who complete a 20-hour online EVITP training course; 

(2) to install EV charging infrastructure for training purposes at state-based learning facilities where the charging infrastructure will be a critical component of electrical worker upskilling that is directly related to the proper installation, operation, and maintenance of electric vehicle charging infrastructure; 

(3) to develop capacity at a state college level to deliver localized and in-person electrical worker upskilling directly related to the proper installation, testing, certification, operation and maintenance of electric vehicle charging infrastructure across the state; and 

(4) to pay direct expenses to cover Eligible Participant Expenses associated with electrical workers taking the in-person training contemplated in #3 above. 

Applicants for this category should complete ONLY Sections A, C, and F of the Application. 

ELIGIBLE ROUND 3 PROJECT LOCATIONS 

Charging infrastructure projects are eligible and will be given strong consideration along all Alabama NEVI Corridors shown on the map below and searchable at the following link: 
https://hepgis-usdot.hub.arcgis.com/apps/5c4d9e173301473688468fc7cf6dbe19/explore. 
Shapefiles and KMX files of Alabama NEVI Corridors are available at https://adeca.alabama.gov/nevi/. 
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RISK FACTOR MITIGATION 
Projects involving new land disturbances, in FEMA-designated floodplains, with known contamination or remediation/cleanup activities, or those connected to historic properties are likely to require more complex, costly, and time-consuming impact analysis. Projects at an existing (pre-disturbed) location, not in a FEMA-designated flood zone, without known contamination or remediation/cleanup activities needed, and not connected to historic properties will receive preference.  
Projects where the site owner is the Applicant and the Applicant will be the Charging Station operator are also preferred. 
OTHER PROGRAM REQUIREMENTS 
This Program is a competitive reimbursement grant program requiring entities submitting applications for NEVI Program funding (Applicants) to provide a minimum of 20% non-federal matching dollars as described in more detail below. Individual Projects proposed for funding under the NEVI Program will be evaluated and administered in a manner consistent with all finalized requirements of relevant federal and state laws and regulations, including federal and state civil rights laws. 
The purchase of EVs is not covered by the funding. 
Successful Applicants will be required to sign a reimbursement Grant Agreement (or Subrecipient Agreement) which shall include Applicant’s commitment to comply with the terms and conditions of FHWA NEVI Program Guidance, this Guide, and applicable federal and state laws and regulations, including the National Electric Vehicle Infrastructure Standards and Requirements Final Rule, 88 Fed. Reg. 12724 (Feb. 28, 2023) (NEVI Final Rule, or 23 C.F.R. § 680), all as may be amended, supplemented, restated, or replaced. 

Additional information can be found on ADECA’s EV Charging Infrastructure Program website (https://adeca.alabama.gov/ev/), including the most recent version of the Alabama Electric Vehicle Infrastructure Plan. See Addendum A hereto for additional definitions used in this Guide. Certain terms which are not defined in this Guide may be defined in a posting of defined terms on ADECA’s website. 

NEVI PROGRAM GRANT APPLICATION GUIDELINES

Applications shall be submitted by Applicants in PDF format by email to ev@adeca.alabama.gov. The email size limit is 35 megabytes (MB). The subject line of the Application email must read “NEVI Round 3 Program Application”. Applicants may only submit one Application per site and only one Application per email. The Application must be submitted as one single document. 

Any additional supporting files or other documentation should be appended to the PDF file so that a single PDF file for each Application includes both the Application and any supporting documentation. Subject to the foregoing single PDF file requirement and email size limitation, there are no Application page limits, limits on the number or type of attachments to the Application, or font size requirements. However, the Application and supporting documents should be easily readable and printable without adjustment by ADECA.

Applications will be accepted starting on April 20, 2026. Completed Applications must be submitted by 11:59 PM CST, on June 4, 2026. Any Applications received after the deadline will not be considered. 

All Applications must be complete. Incomplete applications may be rejected. However, ADECA reserves the right to contact Applicant for additional information and/or clarifications. All Applications received become records of ADECA and will be open to inspection by the public, after award, unless exempt from disclosure under Alabama law or regulation.

REQUIRED MATCH AMOUNTS

Successful Applicants will be required to provide minimum matching funding of not less than 20% of Eligible Costs (Matching Funds) and fund 100% of Ineligible Costs. It is important to note that funding of Ineligible Costs cannot be used as the required Matching Funds. Anything over 20% Matching Funds may result in additional scoring points. 

ELIGIBLE MATCH SOURCES

Eligible match cost sources include cash, loans, other (non-federal) grants, in-kind contributions, utility incentives for charging infrastructure or capital assets dedicated to the Project (Eligible Funds). 

PROJECT COSTS 

Applicants may apply for a reimbursement grant of up to 80% of Eligible Costs. When Eligible Costs are submitted for reimbursement, they will be reviewed to ensure conformance with the Grant Agreement, FHWA guidance, 2 C.F.R. Part 200, and NEVI Program guidance. Notwithstanding anything to the contrary contained or implied herein, the aggregate amount of Eligible Costs reimbursed for any expense item will not exceed the amount shown on Applicant’s budget for such item in the budget submitted as part of Applicant’s Application. The definitions of Eligible Costs and Ineligible Costs are based on ADECA’s current understanding of applicable law and federal guidance and are subject to change. 

Applicants must provide documentation demonstrating that funds or credit needed to complete the Project prior to reimbursement are, or will be, available pending award.  Acceptable sources of documentation include a letter on the organization’s letterhead, binding Memorandum of Understanding, or other signed agreement. The documentation must provide a firm commitment of the amount and type of funds to be provided. The documentation must state that the funds will be available and committed at the time of the grant award.

REIMBURSEMENT GRANT PROGRAM

The NEVI Program is a competitive reimbursement grant program. Grant reimbursement payments (for up to 80% of incurred and paid Eligible Costs (depending on the Matching Funds but in no event exceeding the Award Amount in the aggregate)) are subject to, among other things, Applicant’s certifying that all equipment and other goods to which such reimbursement funding relates are owned and possessed by Applicant on the Project site and are properly installed and operational and that the services and work to which the requested reimbursement funding relates are completed, verified, and approved. 

Without limiting the foregoing, ADECA and/or its designees may perform tests and inspections to confirm, solely for ADECA’s purposes, that the Project is on schedule and operating properly for such point in the schedule. Detailed invoice requirements and submission instructions will be provided to Successful Applicants.

Project costs submitted for reimbursement must be Eligible Costs. 

Due to relevant requirements and a limitation on the amount of funds available, submission of an Application does not guarantee funding.

SELECTION PROCESS

Applications will be evaluated and rated using the criteria established in the Round 3 Scoring Guide. ADECA will review and rank each submitted Application with respect to each scoring criteria in the Scoring Guide.

Projects with match contributions exceeding the minimum required will be scored higher.  Additional examples of Scoring criteria that can lead to more points include Projects with proximity to an eligible corridor, that serve multiple corridors, with an overhead covering, that serve Hurricane Evacuation Routes, that include higher powered chargers, and that mitigate for certain Project risk factors.  

ELIGIBILITY AND OTHER PROGRAM REQUIREMENTS

Eligible Applicants for this round of funding are government and non-government entities looking to install Level 3 DC Fast Charging electric vehicle supply equipment (EVSE) along designated FHWA Electric Vehicle Alternative Fuel Corridors in the State of Alabama (see map). Joint project partners are permitted; however, the Application should be submitted by the primary partner who will be responsible to ADECA for full performance of the Grant Agreement. NEVI Program funds shall be used for Projects directly related to the charging of a vehicle and only to support EV charging infrastructure that is open to the general public or to authorized commercial motor vehicle operators from more than one company. 

Applications to upgrade existing direct current fast charging (DCFC) sites located along AFCs in Alabama to meet the NEVI Program requirements will be considered. Any upgrade or retrofit supported by NEVI funding must also include bringing the station into full compliance with all requirements of the NEVI program, including 23 C.F.R. § 680. Existing charging stations located within four driving miles of a NEVI Corridor will be considered eligible to apply through this program to upgrade the station to meet all the requirements of the NEVI program including 23 C.F.R. § 680.  As with new stations, location-based points will be given for stations that are closer to the NEVI Corridors. 
NEVI Program funds may be used by Successful Applicants only for reimbursement of Eligible Costs. 

ADECA may reject an Application for any one or more of the following reasons:

1. 	the Application is incomplete, not prepared as required or contains additional terms, conditions, or exceptions;
2. 	any Application or Project deliverable is not provided or completed as and when required;
3. 	the Applicant submits more than one Application for the same physical site or address;
4. 	the Applicant is debarred or suspended from submitting bids or appears on the Federal List of Excluded Parties Listing System;
5. 	the Applicant has breached, defaulted, or otherwise not performed on another grant or similar agreement or has had a grant or similar agreement terminated for cause by ADECA, has agreed not to bid, or has had suspension or debarment proceedings initiated against it; or
6. 	any other action or omission, error, or act that, in the judgment of ADECA, renders the Application nonresponsive, ineligible, or not viable.

The EVSE for a Project to be funded under the NEVI Program must meet or exceed the requirements in this Guide, in the Application, and in the Grant Agreement. ADECA reserves the right to modify the requirements as it deems appropriate. Such modified requirements may be provided by ADECA to the Applicant as an amendment to this Guide, the Application, and/or the Grant Agreement. The Applicant shall be deemed to have accepted and agreed to any such modifications without further action unless Applicant, within three (3) business days, notifies ADECA in writing by mail or hand delivery, in which case, ADECA may deem Applicant ineligible to receive any further funding/reimbursement. This Guide does not describe all proper methods for installation of EVSE. 

Any net income from revenue from the sale, use, lease, or lease renewal of real property acquired shall be used for Title 23, United States Code, eligible Projects. 23 C.F.R. 680.106(m)(1). For purposes of NEVI Program income or revenue earned from the operation of an EV charging station, all revenues received from operation of the EV charging facility shall be used only for: (i) debt service with respect to the Project, including funding of reasonable reserves and debt service on refinancing; (ii) a reasonable return on investment of any private person financing the EV charging station Project, as determined by the state or other direct recipient; (iii) any costs necessary for the improvement and proper operation and maintenance of the EV charging station, including reconstruction, resurfacing, restoration, and rehabilitation; (iv) if the EV charging station is subject to a public-private partnership agreement, payments that the party holding the right to the revenues owes to the other party under the public-private partnership agreement; and (v) any other purpose for which federal funds may be obligated under Title 23 of the United States Code. 

Costs incurred prior to execution of a Grant Agreement are at the Applicant’s risk, and no funding will occur prior to full and final execution and delivery of the Grant Agreement. Successful Applicants will not receive reimbursement for expenses or costs incurred prior to receipt of the Notice to Proceed issued to Subrecipient, with the exception of pre-construction costs included in a budget approved by ADECA and consistent with activities as defined in 23 U.S.C. § 101(a)(4)(A).

Applicant shall not be eligible for additional funding under the NEVI Program and shall refund the funding previously made available to Applicant under the NEVI Program if, and to the extent, it is found that any monies were used improperly or to the extent the Project does not meet the requirements set forth in the Grant Agreement.

EXPECTED PROCEDURE

Step 1: Application Period - Applicants will complete and submit their Application which includes all necessary submissions to be considered. ADECA will review all Applications and select a subset of Applicants for further consideration. Conditional awards will be announced publicly. 

Step 2: Selection Period - Applicants selected for further consideration must complete and submit additional deliverables (including, but not limited to, those reflected on Addendum D, as applicable) leading to the possible execution of the Grant Agreement and a Notice to Proceed to Construction.  During this period, ADECA will perform additional analysis to confirm and certify certain aspects of each Project including, but not limited to, National Environmental Protection Act (NEPA) clearance and Railroad, Utility, and Right-of-Way Certification. Should any unusual or unexpected circumstances arise during the Selection Period, ADECA reserves the right not to proceed with  construction. 

Step 3: Installation Period - After the completion, execution and delivery of the Grant Agreement, ADECA may issue a Notice to Proceed, after which Applicant must complete installation of all equipment and submit periodic invoices and Project status updates.  Once construction is complete, ADECA or a designated agent will certify and establish that the Project is fully operational (commissioned) before ADECA accepts the Project as operational. Upon successful installation and commissioning of all equipment, completion of all required deliverables and certification of the site and the Project, ADECA may issue the Notice of Acceptance. ADECA and/or its designees also will have the right to test and inspect the charging station and any data sharing connection solely for ADECA’s purposes during and after construction.

Step 4: Term - Applicant will operate and maintain the charging station and complete and provide additional documentation as required by the Grant Agreement and/or as periodically required or requested by ADECA over the five-year Term (defined below) of each Project.

Step 5: Term Review - The Applicant must submit final, quarterly, and annual reports after the Term ends. 

RETAINAGE

Notwithstanding anything to the contrary contained or implied in this Guide, the Application, or the Grant Agreement, at all times prior to issuance of the Notice of Acceptance, ADECA will retain 15% of expended and approved Eligible Costs, the reimbursement of which would otherwise be due and payable to Applicant (Retainage). An illustrative example follows:  If Applicant had expended $100 of Eligible Costs, at least 20% ($20) of such amount would be required to be Applicant’s Matching Funds. Assuming Applicant has provided 20% Matching Funds and was otherwise properly due to be reimbursed the remaining 80% ($80) of expended and approved Eligible Costs, ADECA would instead reimburse Applicant 65% ($65) of such $100 in Eligible Costs and withhold reimbursing 15% ($15) of such Eligible Costs as the Retainage. 

Once all equipment is successfully installed, the charging station is fully operational, and ADECA has given the Applicant the Notice of Acceptance, ADECA will disburse the total Retainage held by ADECA to Applicant so long as such total Retainage together with all amounts reimbursed by ADECA does not exceed the lesser of the Award Amount or 80% of expended and approved Eligible Costs (subject to adjustment downward depending on the relevant Matching Funds percentage).

[bookmark: _Hlk210118137]CHARGING STATION REQUIREMENTS 

The following are required of any DCFC site to be chosen (for more details on site requirements see the NEVI Final Rule):  

1. EV charging infrastructure should be conveniently and safely located as close as possible to an FHWA-designated Electric Vehicle Charging Alternative Fuel Corridor in Alabama. 
2. Charging stations must be available for use and sited at locations physically accessible to the public twenty-four (24) hours per day, seven (7) days a week, year-round; isolated or temporary interruptions in service or access because of maintenance or repairs or due to the exclusions outlined in 23 C.F.R. § 680.116(b)(3) are permitted. 
3. Chargers must conform to ISO 15118–3 and must have hardware that conforms to both ISO 15118–2 and ISO 15118–20 and be capable of Plug and Charge. Conformance testing for charger software and hardware should follow ISO 15118–4 and ISO 15118–5, respectively. (23 C.F.R. § 680.108)

4. Chargers must communicate with a charging network via a secure communication method. Chargers must conform to Open Charge Point Protocol (OCPP) 2.0.1. See 23 C.F.R. § 680.108 for more information about OCPP requirements.
5. Chargers must be designed to securely switch charging network providers without any changes to hardware. (23 C.F.R. § 680.108(d))
6. Charging networks must be capable of communicating with other charging networks in accordance with Open Charge Point Interface (OCPI) 2.2.1. (23 C.F.R. § 680.108(c))
7. A charging network must be capable of communicating with other charging networks to enable an EV driver to use a single method of identification to charge at charging stations that are part of multiple charging networks. See 23 C.F.R. § 680.108 for more information about OCPI requirements.
8. Chargers must remain functional if communication with the charging network is temporarily disrupted, such that they can initiate and complete charging sessions while still providing the minimum required power level defined in 23 C.F.R. § 680.106(d).
9. Charging networks must be capable of secure charging-network-to-grid communication with electric utilities, other energy providers or local energy management systems per 23 C.F.R. § 680.114(d).
10. Charging Stations shall be connected to a charging network via digital communications to manage the facilitation of payment, the facilitation of electrical charging, and any related data requests, maintain appropriate EV charging network diagnostics, remote start of the equipment, and collecting and reporting usage data. 
11. Unless charging is permanently provided free of charge to customers, charging stations must: (1) provide for secure payment methods, accessible to persons with disabilities, which at a minimum shall include a contactless payment method that accepts all major debit and credit cards, and either an automated toll-free phone number or a short message/messaging system (SMS) that provides the EV charging customer with the option to initiate a charging session and submit payment; (2) not require a membership for use; (3) not delay, limit, or curtail power flow to vehicles on the basis of payment method or membership; and (4) provide access for users that are limited English proficient and accessibility for people with disabilities. Automated toll-free phone numbers and SMS payment options must clearly identify payment access for these populations. 
12. Charging station operators must collect, process, and retain only that personal information strictly necessary to provide the charging service to a consumer, including information to complete the charging transaction and to provide the location of charging stations to the consumer. Charging station operators must also take reasonable measures to safeguard consumer data. 
13. The price for charging must be displayed prior to initiating a charging transaction and be based on the price for electricity to charge in $/kWh. The price for charging displayed and communicated via the charging network must be the real-time price (i.e., price at that moment in time). The price at the start of the session cannot change during the session. Price structure including any other fees in addition to the price for electricity to charge must be clearly displayed and explained.
14. Each charging site must include at least four (4) network-connected CCS Type 1 (SAE J1772 Combo)) connectors and at least four network-connected NACS (SAE J3400) connectors, with capability to simultaneously charge at least four (4) EVs. Each DCFC port must have at least one permanently attached CCS1 connector and one NACS connector.  
15. DCFC charging ports must support output voltages between 250 volts DC and 920 volts DC. DCFCs located along and designed to serve users of designated AFCs must have a continuous power delivery rating of at least 150 kilowatt (kW) and supply power according to an EV's power delivery request up to 150 kW, simultaneously from each charging port at a charging station. These corridor-serving DCFC charging stations may conduct power sharing so long as each charging port continues to meet an EV's request for power up to 150 kW.
16. Applicants are strongly encouraged to propose sites that are on previously disturbed land, free of known contamination or remediation/cleanup activities, outside the limits of a base floodplain according to FEMA NFIP maps (which may be found on FEMA’s online Map Service Center (https://msc.fema.gov/portal/home), and not co-located with historic properties. Projects with these characteristics are more likely to qualify for a Categorical Exclusion (CE) under NEPA and avoid other potential delays in federal review and Project delivery. 
17. Each charging port and related connectors must have an average annual uptime of greater than 97%, per 23 C.F.R. 680.116(b).
18. Successful Applicants must have and provide ADECA and/or its designees with proof of a five (5) year agreement with a software network provider and proof of a five (5) year agreement for scheduled maintenance. Manufacturers and/or suppliers must provide warranties covering a minimum of five (5) years for all Project chargers and equipment from the time of Notice of Acceptance. 

19. Costs for manufacturer’s hardware warranties and software network and scheduled maintenance agreements may be Eligible Costs; provided all Eligible Costs desired to be reimbursed are not incurred prior to the Notice of Acceptance. These costs must be reasonably estimated in good faith at the time the Application is submitted (so that ADECA may properly compare and rank Applications) but shall not be reimbursed before actually incurred. Further, not more than 1/5 of the total Eligible Cost of the required 5-year maintenance agreement shall be an Eligible Cost each year. It should be noted that variable maintenance costs are Ineligible Costs.  ADECA will confirm that Subrecipient is in compliance with program requirements, including data submittal requirements, prior to approving these annual Reimbursement requests during the Term
20. Applicant must ensure that EV charging customers have clearly posted mechanisms to report outages, malfunctions, and other issues with charging infrastructure. 
21. Applicant and charging station operators must enable access to accessible platforms that provide multilingual services and ensure reporting mechanisms comply with Americans with Disabilities Act (ADA) requirements and provide multilingual access. 
22. Without limiting the Applicant’s obligations to comply with ADA requirements, larger spaces and pull-through designed charging to enable larger vehicles, drivers with mobility limitations (ex. wheelchairs), and vehicles towing trailers to charge should be considered due to expected near-term future vehicle developments and market availability.
23. All traffic control devices must comply with 23 C.F.R. Part 655. On-property or on-premises advertising signs must comply with 23 C.F.R. Part 750. Additional guidance and details can be found at the following link:
https://afdc.energy.gov/fuels/electricity_charging_station_signage.html.
24. Site utilization data shall be made available to ADECA upon request for a period of five (5) years after initial operation and ADECA shall be given direct access to data required pursuant to the Application and the Grant Agreement.
25. Chargers must have the ability to receive and implement secure, remote software updates and conduct real-time protocol translation, encryption and decryption, authentication, and authorization in their communication with charging networks.
26. Charging networks must perform and chargers must support remote charger monitoring, diagnostics, control, and smart charge management.
27. Chargers and charging networks must securely measure, communicate, store, and report energy and power dispensed, real-time charging-port status, real-time price to the customer, and historical charging-port uptime.
28. Applicants must implement physical and cybersecurity strategies, as required under 23 C.F.R. § 680.106(h), to ensure charging station operations protect consumer data and safeguard against risks to or disruptions of charging infrastructure and the grid. While the federal rule provides examples of measures that may be included, ADECA has incorporated certain elements as requirements elsewhere in this Guide, including physical security and cybersecurity requirements. Applicants must ensure their strategies integrate these required elements and should propose additional measures as appropriate to the site.
29. Electrical Safety:
a. In case of emergency, EVSE shall have the ability to stop the flow of power away from the charger through a remote disconnect or breaker shunt device. EVSE shall have over-current protection rated for application.
b. EVSE shall be equipped with design to shut off the flow of electric power to reduce the risk of electric shock in case of a ground or other fault such as a Charge Circuit Interrupting Device (CCID) or Ground Fault Circuit Interrupter (GFCI). See Underwriters Lab 2231 as reference.
30. Consistent with National Electric Code (NFPA 70) article 625.43, EVSE rated more than 60 amperes or more than 150 volts to ground must include appropriate means of disconnection from power sources, including any Distributed Energy Source (DES) that may be present.  Also, displayed at each Charging Station shall be a single-line diagram showing all major system equipment, depicting how each piece of system equipment is electrically connected to each other, to the load, to local DES, and to the electric utility system as well as locations of disconnections.  Labeling of disconnects for first responders should be obvious and clear.
31. EV charging infrastructure should be maintained in good working order, in compliance with all EV charging infrastructure manufacturer requirements and all requirements in the minimum standards issued by FHWA. Applicant and any other owners of NEVI Program funded EV charging infrastructure should provide reasonable plans and guarantees for maintaining the chargers and related equipment and keeping the overall charging locations in working order. 
32. EV charging infrastructure should use charging network providers with demonstrated experience or capability, and EV charging infrastructure must be maintained in service in compliance with 23 C.F.R. Part 680 and this Guide at the same location for a period of no less than five (5) years from the initial operation date identified in the Notice of Acceptance (Term) and should include plans to remain in service beyond the Term. Applicant shall be responsible for the charging station, including upon completion of construction and installation and Notice of Acceptance by ADECA. Applicant has responsibility for the NEVI Program infrastructure and for all aspects of the charging station beyond the Term. 
33. Quarterly, Annual, and One-time data submittal to federal government: The Electric Vehicle Charging Analytics and Reporting Tool (“EV-ChART”) is the current platform that has been established by the federal government to collect and analyze EV charging infrastructure data.  ADECA intends to collaborate with the Subrecipient to assist in providing access so that the Subrecipient may enter Project data therein which ADECA may review and/or approve solely for ADECA’s own purposes. As directed by the FHWA, all data in 23 C.F.R. §§ 680.112(a) quarterly data submittal, (b) annual data submittal, and (c) one-time data submittal is required to (and shall) be submitted by Subrecipient as and when required. Additional information on EV-ChART and the required documentation to be submitted may be found at the following link: https://driveelectric.gov/evchart.

34. Annual Reporting to ADECA during the Term of the Project: Each calendar year during the Term, ADECA will confirm Subrecipient has properly submitted all previously required federal data submissions to the federal government, per 23 C.F.R. §§ 680.112. ADECA may also elect to receive the same type of station utilization information being reported to the federal government, for ADECA program management purposes, including through establishment of direct access to the data which direct data access will be provided to ADECA by Subrecipient upon ADECA’s request.  Any data made public will be aggregated and anonymized [by Subrecipient] to protect confidential business information.  

35. Physical Security Plan and Cybersecurity Plan: Applicant will be required to develop and maintain, on file with ADECA, both a Physical Security Plan and a Cybersecurity Plan consistent with requirements of 23 C.F.R. 680.106(h). 
36. Successful Applicants will be required to have each charging station location listed on the Alternative Fuels Data Center website showing it as either planned during the construction or operational once construction is complete. Charging stations can be added at the following link: https://afdc.energy.gov/stations/#/station/new.

37. Applicant shall ensure that the following data fields are made available, free of charge, to third-party software developers, via application programming interface: 
(1) Unique charging station name or identifier;
(2) Address (street address, city, state, and zip code) of the property where the charging station is located;
(3) Geographic coordinates in decimal degrees of exact charging station location;
(4) Charging station operator name;
(5) Charging network provider name;
(6) Charging station status (operational, under construction, planned, or decommissioned);
(7) Charging station access information:
(i) Charging station access type (public or limited to commercial vehicles), and
(ii) Charging station access days/times (hours of operation for the charging station);
(8) Charging port information:
(i) Number of charging ports,
(ii) Unique port identifier,
(iii) Connector types available by port,
(iv) Charging level by port (DCFC, etc.),
(v) Power delivery rating in kilowatts by port,
(vi) Accessibility by vehicle with trailer (pull-through spaces by port (yes/no), and
(vii) Real-time status by port in terms defined by Open Charge Point Interface 2.2.1; and
(9) Pricing and payment information:
(i) Pricing structure,
(ii) Real-time price to charge at each charging port, in terms defined by Open Charge Point Interface 2.2.1, and
(iii) Payment methods accepted at charging station. 

38. ADECA reserves the right to provide a reasonably sized visual identifier which Applicant shall have placed on the equipment that received NEVI Program funding. 

EMERGENCY INCIDENT REPORTING REQUIREMENT
During the Term, ADECA must be notified by Applicant promptly after any of the following events:
· one or more charging ports or connectors are inoperable for more than 24 hours;
· all publicly available DCFC ports at the site are inoperable for more than four (4) hours;
· hardware or software essential to the operation of the charging station experiences a  failure; or
· other incidents related to charging electric vehicles such as:
· damage to an EV as a result of connecting to or receiving electricity from the charging station;
· any other safety related incident, such as an accident or fire, at or near the charging station; or 
· any time emergency responder personnel are dispatched to the charging station.


COMPLIANCE WITH LAWS AND REGULATIONS  
Applicant shall certify its and its Representatives’ compliance with applicable state and federal procurement, competitive bidding, labor and workforce laws, including all applicable federal statutory and regulatory requirements applicable to EV charger projects. 
These requirements include but are not limited to: 
All statutory and regulatory requirements applicable to funds apportioned under Chapter 1 of Title 23, U.S.C., and 2 C.F.R. Part 200. This includes, the applicable requirements of Title 23, United States Code, and Title 23 Code of Federal Regulations, such as the applicable Buy America requirements at 23. U.S.C. § 313 and Build America, Buy America Act (Pub. L. No. 117-58, div. G, section 70901-70927). 
As provided at 23 U.S.C. § 109(s)(2), Projects to install EV chargers are treated as if the Project is located on a federal-aid highway. As a Project located on a federal-aid highway, 23 U.S.C. § 113 applies, and Davis Bacon federal wage rate requirements included at subchapter IV of chapter 31 of Title 40, U.S.C., must be paid for any Project funded with NEVI Program funds.
EV charging stations must comply with ADA, and implementing regulations, by prohibiting discrimination on the basis of disability by public and private entities. EV charging stations must comply with applicable accessibility standards adopted by the Department of Transportation into its ADA regulations (49 C.F.R. Part 37) in 2006 and adopted by the Department of Justice into its ADA regulations (28 C.F.R. Parts 35 and 36) in 2010.
Title VI of the Civil Rights Act of 1964, and implementing regulations to ensure that no person shall, on the grounds of race, color, or national origin, be excluded from participation in, be denied the benefits of, or be subjected to discrimination under any program or activity receiving federal financial assistance.
All applicable requirements of Title VIII of the Civil Rights Act of 1968 (Fair Housing Act), and implementing regulations. 
The Uniform Relocation Assistance and Real Property Acquisition Act, and implementing regulations, which establishes minimum standards for federally funded programs and Projects that involve the acquisition of real property (real estate) or the displacement or relocation of persons from their homes, businesses, or farms.
The National Environmental Policy Act of 1969 (NEPA), the Council on Environmental Quality’s NEPA implementing regulations, and applicable agency NEPA procedures, which establish procedural requirements to ensure that federal agencies consider the consequences of their proposed actions on the human environment and inform the public about their decision making for major federal actions significantly affecting the quality of the human environment.
Also, before funds are obligated, ADECA must ensure that Projects are included on the relevant Statewide Transportation Improvement Program/Transportation Improvement Program (STIP/TIP) and long-range plans in accordance with 23 C.F.R. Part 450 and all state and federal environmental requirements.
Any agreements for the operation and maintenance of an EV charging station, the Application and the Grant Agreement are subject to the state procurement policies and procedures per 2 C.F.R. § 200.317. Without limiting the foregoing, Applicant shall comply with all laws, regulations, requirements, standards and policies described or referenced in Addendum B or Addendum C hereto.
The Advisory Council on Historic Preservation has approved an exemption relieving federal agencies from the historic preservation review requirements under the National Historic Preservation Act regarding the effects of the installation of certain EVSE on historic properties. The exemption became effective as of October 26, 2022 (see Exemption from Historic Preservation Review for Electric Vehicle Supply Equipment, 87 Fed. Reg. 66201 (Nov. 2, 2022).
In the event of any conflict between this Guide, the NEVI Final Rule, the FHWA NEVI Program Guidance, the FHWA Formula Program Frequently Asked Questions, and NIST Handbook 44-2023, Specifications, Tolerances, and Other Technical Requirements for Weighing and Measuring Devices, all as may be amended, supplemented, restated or replaced, the provisions which are most stringent upon the Applicant and/or the Project shall apply.
Applicant shall comply with (and provide ADECA with its compliance plan for) the following: 
Applicant shall ensure that the workforce installing, maintaining, and operating chargers has appropriate licenses, certifications and training to ensure that the installation and maintenance of chargers is performed safely by a qualified and increasingly diverse workforce of licensed technicians and other laborers. Further:
(1) Except as provided in subparagraph (2) of this section, all electricians installing, operating, or maintaining EVSE must meet one of the following requirements:
(i) Certification from the EVITP; or 
(ii) Graduation or a continuing education certificate from a registered apprenticeship program for electricians that includes charger-specific training and is developed as a part of a national guideline standard approved by the Department of Labor in consultation with the Department of Transportation.
(2) For Projects requiring more than one electrician, at least one electrician must meet the requirements above, and at least one electrician must be enrolled in an electrical registered apprenticeship program.
(3) All other onsite, non-electrical workers directly involved in the installation, operation, and maintenance of chargers must have graduated from a registered apprenticeship program or have appropriate licenses, certifications, and training as required by the state.
Applicant’s electrical contractors for the Project may apply for a reimbursement grant through the Construction Industry Craft Training Board (CICTB) that will cover the training program fee for their employees that need to be trained for the Project. The following web address may be used to apply for Alabama CICTB: alcict.com.
RESERVATION OF RIGHTS

Unless otherwise restricted by law, ADECA has discretion in the selection of Projects, the scoring of Applications, and in the determination of funding levels, priorities, Project phasing, Project design, and specifications and performance criteria.
ADECA and/or its designees may investigate information contained in an Application by accessing public information, contacting independent parties, or by other means. This information can be used during Application evaluation.
ADECA reserves the right to reject Applications or to cancel, withdraw, postpone, modify, revise, or extend any part of the process prior to full execution of the Grant Agreement, without incurring obligations or liabilities.
As part of the Application evaluation process, ADECA may determine that the scope or specifications of a proposed Project should be modified to accommodate available funding, anticipated use, or to better accommodate potential user needs. ADECA and/or its designees may confer with an Applicant and/or visit the site of a proposed Project to clarify the intent of, or to amend the scope or specifications of, a proposed Project. Neither a consultation nor a visit may be construed as a commitment by ADECA.
ADECA reserves the right to amend, supplement, or issue addenda to any Project documents (including this Guide or any Grant Agreement), to help ensure compliance with federal and state laws and regulations. Amendments, supplements, and addenda may, among other things, require an Applicant to incur additional costs or to comply with different or additional requirements.
PROGRAM AND PROJECT INTEGRITY
Notwithstanding anything to the contrary contained or implied in this Guide or the Grant Agreement, it is recognized that the NEVI Program presents unique risks and opportunities. Accordingly, Applicant and ADECA agree that ADECA may impose, prior to, during and after the Term, additional requirements and protections to help ensure Program and Project integrity. Among other things, ADECA and/or its contractors and agents may inspect and/or audit and/or request additional information and certificates from Applicant regarding:
· the status of the acquisition, installation, testing, certification, operation and maintenance of all Project equipment;
· Applicant’s timely performance of and compliance with the Grant Agreement;
· the experience, qualifications and performance of Applicant’s management, staff, contractors, and subcontractors; and
· the progress of the Project, conformance to schedule, and the latest expected completion and operational dates.

Project materials and manufactured components employed in the construction of charging stations, transformers, connectors, and other Project components shall be certified in accordance with an approval process adopted by ADECA, which shall include but not be limited to, certification by the manufacturer and testing performed by the contractor or manufacturer. Any materials or manufactured components delivered/installed in the Project that are not certified and approved will be subtracted from any progress payment until such requirements are met.

SUSPENSION/TERMINATION
Notwithstanding anything to the contrary contained or implied in this Guide, the Application and/or the Grant Agreement, ADECA may suspend and/or terminate this Guide, the Application and/or the Grant Agreement and any and all related negotiations if the Project fails to remain on schedule and budget or Applicant has failed to provide any required information, has made any misrepresentation to ADECA in the Application or Grant Agreement or otherwise or is in violation or breach of any of the provisions or requirements of this Guide, the Application and/or the Grant Agreement. 
In such event, ADECA shall have and may exercise all of its rights and remedies under law, shall retain and may exercise all of its rights and remedies under this Guide, the Application, the Grant Agreement and/or any other agreement and may suspend, reduce and/or terminate the Project, the Application and/or the Grant Agreement or any further funding or reimbursement to Applicant and/or require Applicant to repay any and all amounts previously funded, paid or reimbursed to Applicant.
QUESTIONS  
Questions pertaining to this Application Guide may be submitted by email to ev@adeca.alabama.gov until 5:00 PM CST on May 8, 2026. Reponses to the questions will be posted at https://adeca.alabama.gov/nevi/. The subject line of the email must read “NEVI Program EV Application Question.” 
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Addendum A
DEFINITIONS

The terms “include,” “includes” and “including” shall be read and interpreted as if followed by the phrase “without limitation,” except in the definition of Eligible Costs.

Terms defined in 23 C.F.R. § 680.106 and used, but not otherwise defined, in this Guide shall have the meaning given in such regulation. 

ADECA: Alabama Department of Economic and Community Affairs.
AFC / AFCs / NEVI Corridors: (FHWA-Designated) Electric Vehicle Alternative Fuel Corridors.
Alternative Fuels Data Center (AFDC): Website for listing charging stations.
ALDOT: Alabama Department of Transportation .
Applicant/Applicants: Entities submitting applications for NEVI Program funding.  
Award Amount: an amount awarded to a successful applicant, to be determined by ADECA, which may be zero but shall not exceed 80% of Eligible Costs.
CICTB: Construction Industry Craft Training Board.
Conditional Award: Award given prior to execution of any formal agreements, subject to certain conditions.
DBOM: Design-Build-Operate-Maintain project delivery method.  
DOE: U.S. Department of Energy.
DOT: U.S. Department of Transportation. 
Eligible Costs: Costs for items which are necessary to the design, acquisition, operation and maintenance of an EV charging station, including necessary components to connect the EV charging station to the electricity source (or to supply power from the electricity source), provide eligible signage to direct EVs to the charging station, or provide information to EV users about use of the charging station. This includes costs of new public EV charging stations, as well as upgrades to existing EV charging stations. Eligible Costs for the Project do not include any Ineligible Costs but may include:
1. costs for pre-construction work like environmental documents and review, preliminary engineering, and related work;
2. construction costs (as defined under 23 U.S.C. 101(a)(4)), including site restoration after installation, directly related to EV charging station;
3. costs for planning, permitting, acquisition, and installation of on-site distributed energy resource (DER) equipment (e.g., Propane generator, solar arrays, stationary batteries);
4. costs to acquire and install on-site electric service equipment (e.g., power meter, transformer, switch gear), including shipping fees and applicable taxes;
5. costs of minor grid updates (work necessary to connect a charging station to the electric grid distribution network like extending power lines or upgrading existing power lines);
6. costs to install eligible signage at site that is compliant with the MUTCD and 23 C.F.R. Part 750; 
7. costs to procure and install, repair, upgrade, and/or replace existing EV charging equipment to meet NEVI Program minimum standards and requirements;
8. costs to procure and setup EVSE related hardware and software;
9. costs to upgrade existing EV charging stations to meet ADA requirements;
10. fixed maintenance costs (up to five (5) years after the date of the Notice of Acceptance but not beyond the expiration of the Term) including:
a. charging equipment lease fees (if Applicant chooses lease option for charging equipment rather than purchase option), 
b. cellular network fees, internet service fees, or similar fees, and
c. hardware and software maintenance costs, including service agreements with third-party contractors and charging equipment manufacturers or warrantors, are acceptable to ADECA. Service agreements shall be a fixed price; 
11. costs to install, operate, and maintain electric vehicle charging infrastructure. 
12. costs for EV charging infrastructure data sharing (this includes, to the extent practicable, costs related to the specific data sharing requirements of this program as well as costs of data sharing on all chargers and charging activities on the EV network);
13. costs for construction project management directly related to the EV charging station;
14. site-level costs and equipment that support the entire Project, so long as they are otherwise considered Eligible Costs (for example, a transformer that supports more than four chargers at the site would be an Eligible Cost, without any need for proration);
15. costs for installing four CCS and four NACS connectors; and
16. aggregate Eligible Costs which are in excess of the Award Amount.
Eligible Funds: Eligible match cost sources including cash, loans, other (non-federal) grants, in-kind contributions, utility incentives for charging infrastructure or capital assets dedicated to the Project.
Eligible Participant Expenses: Tuition, certification or other registration fees directly related to an electrical worker’s upskilling. Food, mileage, and other travel expenses will not be considered Eligible Participant Expenses.
EV-ChART: Electric Vehicle Charging Analytics and Reporting Tool. 
EVITP: Electric Vehicle Infrastructure Training Program.
EVSE: Electric Vehicle Supply Equipment, commonly referred to as a “charging station” 
FHWA: Federal Highway Administration.  
Fully Built Out: a determination supported by a State making a reasonable case to FHWA that EVSE along a designated AFC is sufficient  to allow for reasonable travel and certainty that charging will be available to corridor travelers when needed. At the time of determination, Alabama intends to consider planned and operational EVSE capable of meeting an EVs power delivery request of at least 150 kilowatts (kW), located within 4 driving miles of an AFC, and no more than 100 miles apart along an AFC. 
Grant Agreement: Reimbursement Grant Agreement or Subrecipient Agreement acceptable to ADECA. 
Host-Operator Agreements: the agreement between Applicant and the site property owners, lessors and lessees that provides Applicant with a first priority real property interest or other contractual first priority right to locate, access and operate (and for the public to access) the Project on the site for the Term. 

Ineligible Costs:
1. costs not directly related to charging of vehicles;
2. costs for purchase or rental of real estate;
3. costs for construction or general maintenance of building and parking facilities (if not directly related to charging of vehicles);
4. Project equipment costs associated solely with installing DCFC plugs beyond the required four CCS Type 1 connectors and four NACS connectors; 
a. Ineligible Costs could include additional power cabinets and charging units that do not also support one or more of the required four (4) CCS connectors and four (4) NACS connectors. For example, a power cabinet that solely supports charging unit numbers 5 and 6 would be an Ineligible Cost, and
b. site-level costs and equipment that support the entire Project may be Eligible Costs, so long as they are otherwise considered Eligible Costs. For example, a transformer that supports more than four (4) charging units at the site could be an Eligible Cost, without any need for proration; 
5. variable operating and maintenance costs, including costs for electricity, insurance, and other recurrent business costs such as staffing;
6. costs covered, or which should be covered by insurance required to be maintained by Applicant;  
7. costs for any loss or damage to (and any needed repair/replacement of) equipment, materials, supplies, etc. which is or is to be the responsibility of Applicant; 
8. costs of major grid upgrades (longer line extension or upgrades, improvements to offsite power generation, bulk power transmission, or substations);
9. fixed operations or maintenance costs incurred outside of an up-front contract at or near the time of the Notice of Acceptance (operation and maintenance costs for equipment beyond those required to support four (4) CCS connectors and four (4) NACS connectors are Ineligible Costs);  
10. any Project costs covered by the utility, including utility service upgrade costs; 
11. costs for any connectors or adapters other than four (4) CCS and four (4) NACS connectors.
12. costs for studies or research projects; 
13. costs incurred in excess of Applicant’s budget for such item as reflected in the budget submitted by Applicant as part of its Application;
14. any other costs not deemed to be Eligible Costs under applicable law or regulation;
15. any other costs that ADECA deems to be Ineligible Costs; and
16. Costs not paid prior to requested reimbursement.
Joint Office: Joint Office of Energy and Transportation. 
Matching Funds: Minimum matching funding of not less than 20% of Eligible Costs. 
NEVI Final Rule: National Electric Vehicle Infrastructure Standards and Requirements Final Rule, 88 Fed. Reg. 12724 (Feb. 28, 2023) (NEVI Final Rule, or 23 C.F.R. § 680).
NEVI Program / Program: National Electric Vehicle Infrastructure Formula Program.  
Notice of Acceptance: a written notification sent by ADECA to the Applicant advising the acceptance of the charging station. The Term will start on the date identified in the Notice of Acceptance.
Notice to Proceed (NTP): the written notice ADECA provides to Applicant authorizing the Applicant to proceed with the work in the Grant Agreement. ADECA may issue a Notice to Proceed following the execution of a Grant Agreement and all conditional requirements being satisfied. Any work done prior to fully executed Grant Agreement will not be reimbursed. Costs incurred between the execution of fully executed Grant Agreement and NTP may not be reimbursed until after the NTP.
Project: collectively, the deliverables and outcomes envisioned through each individual application
Representative: the Applicant, its affiliates, all their contractors, subcontractors, suppliers, and vendors, the directors, officers, members, managers, employees (full time, part time, temporary or leased), representatives and agents of each of them, all other persons and entities that Applicant uses in connection with the Project, to interact with ADECA or the public, or to submit or perform the Application or the Grant Agreement, and all other persons and entities for whose conduct Applicant, any of its affiliates or any of its contractors or subcontractors are or may be responsible.
Retainage: 15% of expended and approved Eligible Costs withheld until Notice of Acceptance is given. 
Round 1: Refers to projects announced in NEVI Round 1 and subsequently rescinded 
Round 2: The second round of Alabama’s NEVI application process which was canceled
Round 3: The current round of Alabama’s NEVI application process.  
Scoring Guide: the scoring guide provided separately on ADECA’s EV Charging Infrastructure Program website.
Subrecipient: Successful Applicant entering into a Grant Agreement with ADECA . 
Term: A period of no less than five (5) years from the initial operation date identified in the Notice of Acceptance. 















Addendum B
LAWS, REGULATIONS, REQUIREMENTS, ETC.
To the extent required by law and/or regulation, the Grant Agreement, or ADECA, Applicant and its Representatives shall comply as required with certain sections contained in the Federal Acquisition Regulations (FAR), including those set forth below, all as may be amended, supplemented, restated, or replaced. 
	52.203-3
	Gratuities (APR 1984);

	52.203-6
	Restrictions on Subcontractor Sales to the Government (SEPT 2006);

	52.203-7
	Anti-Kickback Procedures (MAY 2014);

	52.204-23
	Prohibition on Contracting for Hardware, Software, and Services Developed or Provided by Kaspersky Lab and Other Covered Entities (JUL 2018)

	52.204-25
	Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment (AUG 2020)

	52.219-8
	Utilization of Small Business Concerns (OCT 2014);

	52.219-9
	Small Business Subcontracting Plan (OCT 2014);

	52.222-21
	Prohibition of Segregated Facilities (FEB 1999);

	52.222-26
	Equal Opportunity (MAR 2007);

	52.222-37
	Employment Reports on-Veterans (JUL 2014);

	52.222-40
	Notification of Employee Rights under the National Labor Relations Act (DEC 2010);

	52.222-50
	Combating Trafficking in Persons (FEB 2009);

	52.222-54
	Employment Eligibility Verification (AUG 2013); and

	52.225-13
	Restrictions on Certain Foreign Purchases (JUN 2008).



1. Applicant warrants and represents that neither it nor any Representatives are debarred, suspended, or proposed for debarment or suspension as a contractor or subcontractor to any department, agency, or other division of the United States Government or voluntarily excluded from this or any other federal or state contract or grant program. In the event that Applicant or any Representatives becomes debarred, suspended, or proposed for debarment or suspension, or voluntarily excluded from this or any other federal or state contract or grant program, Applicant will immediately notify ADECA verbally and in writing.
1. Applicant certifies that no federal funds have been paid or will be paid to any person including any registered lobbyists for influencing or attempting to influence an officer or employee of any federal agency in connection with the Grant Agreement.
1. [bookmark: _Hlk46475475]Applicant certifies that it and its Representatives do not use any equipment, system, or service that uses covered telecommunications equipment or services as a substantial or essential component of any system, or as critical technology as part of any system, regardless of whether that use is in performance of work under a federal contract. For purposes of hereof, “covered telecommunications equipment” includes (1) telecommunications equipment produced by Huawei Technologies Company or ZTE Corporation (or any subsidiary or affiliate of such entities); (2) video surveillance and telecommunications equipment produced by Hytera Communications Corporation, Hangzhou Hikvision Digital Technology Company, or Dahua Technology Company (or any subsidiary or affiliate of such entities);(3) telecommunications or video surveillance services provided by such entities or using such equipment.; and (4) telecommunications or video surveillance equipment or services provided by an entity that the Secretary of Defense reasonably believes to be owned, controlled or connected to the government of a covered foreign country.
1. If Applicant is subject to the requirements set forth in Federal Acquisition Regulations 52.219-9, Applicant and its Representatives will (i) adopt a subcontracting plan (Plan) that complies with the requirements of 52.219-9; (ii) provide a written copy of that Plan to ADECA; and (iii) if requested, provide timely periodic report(s) to ADECA that reflect the amount paid to subcontractors who are a small business concern, veteran-owned small business concern, service-disabled veteran-owned small business concern, HUBZone small business concern, small disadvantaged business concern, or women-owned small business concern. 
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Addendum C
ADDITIONAL LAWS, REGULATIONS, REQUIREMENTS, ETC.


Applicable State Procurement and Bidding Requirements and all FHWA, ALDOT, and Related Compliance Requirements.

National Institute of Standards and Technology, Specifications, Tolerances, and Other Technical Requirements for Weighing and Measuring Devices, NIST Handbook 44–2023 Edition. 

Any and all other applicable federal, state, and local laws and regulations.
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Addendum D
SUBRECIPIENT REQUIRED DOCUMENTS AND PROJECT DELIVERABLES

Conditionally awarded Projects will be announced, and Successful Applicants will immediately execute an Agreement providing for both a Preconstruction Phase (Preliminary Engineering) and a Construction Phase. For a Project to advance from Preconstruction Phase to the Construction Phase, the following deliverables will be required in satisfaction of state and federal requirements. 
 
Successful Applicants will be required to submit the following before the execution of the Grant Agreement:  
Audit Compliance
State of Alabama Disclosure Statement
E-Verify Program for Employment Verification Memorandum of Understanding
Certificate of Compliance with the Beason-Hammon Alabama Taxpayer and Citizen Protection Act
Form W-9 Request for Taxpayer Identification Number and Certification
Registration to do business with the State of Alabama through the STAARS Vendor Self Service Portal
Applicant’s Procurement Policy
Signatory Authority Form
Active Status from Sam.gov
Federal Lobbying Certification Form
First Responder Coordination Certification Form. The form can be downloaded at this link: 
https://adeca.alabama.gov/nevi/nevi-documents/
Electric Utility Coordination Form 
Advisory Council on Historic Preservation (ACHP) Program Comment (Section 106) documentation 
Final Site Design 

The following requirements will be associated with and enforced through the Grant Agreement during the Installation Period and Term: 
Buy America  
Davis Bacon Act 
Americans with Disabilities Act (ADA) Compliance 
Physical Security Plan 
Cybersecurity Plan 
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